## extract
file | doc_type | is_certificate | customer_name | customer_address | cert_number | date_cal | due_cal | manufacturer | model | nomenclature | serial_number | procedure | asset | tolerance | received_condition | returned_condition | calibrated_temp | calibrated_humidity | certified_by | num_standards | standards | error
!Customers who Require Data\Automated Coatings\Automated 2024\Onsite 02-22-24\A Coatings on-site sheet 02-22-24.doc | Unknown | FALSE | [17 empty] | 0
!Customers who Require Data\C-Care\C-Care 2024\Week of 12-16-24 Onsite\12-16-24 Onsite\C-Care (01) 12-16-24 Resistance Conductivity Instrument LAB-DI-CON1.doc | Certificate of Calibration | TRUE | C-Care LLC | 979 Corporate Blvd, Linthicum Heights, MD 21090 | 0112162024 | 16 Dec 2024 | 16 Dec 2025 | Myron L Company | 750 | Conductivity / Resistivity Instrument | LAB-DI-CON1 | ELI-CSI-5001 |  | Manufactures | In Tolerance | In Tolerance | 20 C | 32% | Josh Rubenking | 4 | CID#4000:Vaisala Humidity/Temperature Indicator(05/25), CID#4504:Conductivity Meter(08/25), CID#4505:Conductivity Probe(08/25), CID#5002:Conductivity Solution(08/25)
!Customers who Require Data\Coast Guard\CG Cal Shop 2026\Coast Guard 40B Fluke 117 Datasheet 40026721WS 6203 3-18-26.docx | Calibration Data Report | FALSE | [5 empty] | Fluke | 117 | Multimeter | 40026721WS | ELI-CSI-3009/3010 | 6203 | Manufactures | In Tolerance | In Tolerance |  |  |  | 0
!Customers who Require Data\Coast Guard\EM1 Bogdasarian\Coast Guard (2) 05-01-25 Insulation Tester 06102402.doc | Certificate of Calibration | TRUE | US Coast Guard | 2401 Hawkins Point Road, Curtis Bay, MD 21226 | 2050125 | 05/01/25 | 05/01/26 | Klein Tools | ET600 | Insulation Tester | 06102402 | ELI-CSI-3009/5001 | N/A | Manufactures | In Tolerance | In Tolerance | 22 C | 34% | Josh Rubenking | 4 | CID#3000:Fluke 5500A/SC300(07/25), CID#4000:Vaisala Humidity/Temperature Indicator(05/26), CID#3510:HV Decade Box(05/25), CID#3005:HV Meter(08/26)
!Customers who Require Data\DOD SPL (NSA-SPL)\DOD NSA SPL 2024\DOD SPL (01) 05-30-24 Digital Caliper SH7H29599.doc | Certificate of Calibration | TRUE | NSA SPL | Reliability Verification, 9800 Savage Road, Ft. Meade, MD 20755 | 01053024 | 05/30/24 | 05/30/25 | Fowler | 0-8” | Digital Caliper | SH7H29599 | ELI-CSI-1005 | N/A | Manufacture’s | In Tolerance | In Tolerance | 22 C | 35% | Josh Rubenking | 2 | CID#1101:Gauge Block Set(10/25), CID#4000:Vaisala Humidity/Temperature Indicator(05/25)
!Customers who Require Data\Danko Arlington\Danko 2024\11-06-24 Onsite\Danko Arlington (02) 02-05-25 DAQC-171 Thermometer.doc | Certificate of Calibration | TRUE | Danko Arlington, Inc. | 4800 E. Wabash Ave., Baltimore, MD 21215 | 0202052025 | 02/05/25 | 05/05/25 | Omega | HH501AJK | Thermometer | 21000352 | ELI-CSI-3002 | DAQC-171 | Manufacture’s | In Tolerance | In Tolerance | 20 C | 38% | Josh Rubenking | 2 | CID#4101:Fluke 726 Calibrator(06/25), CID#4000:Vaisala Humidity/Temperature Indicator(05/25)
!Customers who Require Data\Seneca Balance\Seneca 2024\Packing Slip Seneca Balance 04-22-24.doc | Packing Slip | FALSE | [6 empty] | Description |  | Order Quantity | [8 empty] | 0
!Customers who Require Data\USAMRIID\USAMRIID 2024\Packing Slip USAMRIID 03-26-24.doc | Packing Slip | FALSE | [10 empty] | Order Quantity | [6 empty] | 0
!Customers who Require Data\WMATA\WMATA Alexandria\WMATA ALEX MATERIALS SUPPORT\WMATA ALEX Mat. Sup. 2025\_WMATA Alex. Shops & Materials_2025-12-22_OTDR Fiber_1702_E1170S_Datasheet.doc | Calibration Data Report | FALSE | [5 empty] | Viavi | T-Berd 5800 | Fiber OTDR | 1702 | ELI-CSI-6000 | E1170S | Manufacture’s | In Tolerance | In Tolerance |  |  | Josh Rubenking | 0
!Customers who Require Data\WMATA\WMATA Alexandria\WMATA ALEX MATERIALS SUPPORT\WMATA ALEX Mat. Sup. 2025\_WMATA Alex. Shops & Materials_2025-12-22_OTDR Fiber_1703_E1174S_Datasheet.doc | Calibration Data Report | FALSE | [5 empty] | Viavi | T-Berd 5800 | Fiber OTDR | 1703 | ELI-CSI-6000 | E1174S | Manufacture’s | In Tolerance | In Tolerance |  |  | Josh Rubenking | 0
!Customers who Require Data\WMATA\WMATA Alexandria\WMATA ALEX MATERIALS SUPPORT\WMATA ALEX Mat. Sup. 2025\_WMATA Alex. Shops & Materials_2025-12-22_OTDR Fiber_1704_E1173S_Datasheet.doc | Calibration Data Report | FALSE | [5 empty] | Viavi | T-Berd 5800 | Fiber OTDR | 1704 | ELI-CSI-6000 | E1173S | Manufacture’s | In Tolerance | In Tolerance |  |  | Josh Rubenking | 0
!Customers who Require Data\WMATA\WMATA Alexandria\WMATA ALEX MATERIALS SUPPORT\WMATA ALEX Mat. Sup. 2025\_WMATA Alex. Shops & Materials_2025-12-22_OTDR Fiber_1705_E1169S_Datasheet.doc | Calibration Data Report | FALSE | [5 empty] | Viavi | T-Berd 5800 | Fiber OTDR | 1705 | ELI-CSI-6000 | E1169S | Manufacture’s | In Tolerance | In Tolerance |  |  | Josh Rubenking | 0
!Customers who Require Data\WMATA\WMATA Alexandria\WMATA ALEX MATERIALS SUPPORT\WMATA ALEX Mat. Sup. 2025\_WMATA Alex. Shops & Materials_2025-12-22_OTDR Fiber_1706_E1172S_Datasheet.doc | Calibration Data Report | FALSE | [5 empty] | Viavi | T-Berd 5800 | Fiber OTDR | 1706 | ELI-CSI-6000 | E1172S | Manufacture’s | In Tolerance | In Tolerance |  |  | Josh Rubenking | 0
!Customers who Require Data\WMATA\WMATA Alexandria\WMATA ALEX MATERIALS SUPPORT\WMATA ALEX Mat. Sup. 2025\_WMATA Alex. Shops & Materials_2025-12-22_OTDR Fiber_1707_E1171S_Datasheet.doc | Calibration Data Report | FALSE | [5 empty] | Viavi | T-Berd 5800 | Fiber OTDR | 1707 | ELI-CSI-6000 | E1171S | Manufacture’s | In Tolerance | In Tolerance |  |  | Josh Rubenking | 0
!Customers who Require Data\WMATA\WMATA College Park\College Park (Green Belt)\WMATA CP 2014\Repair Shop (G219) (Electronics) 2014\WMATA CP (1)3-5-13\2 WMATA MM (6)3-5-13.doc | Certificate of Calibration | TRUE | WMATA | 5801 Sunnyside Avenue, College Park, MD 20740 | 6030513 | 03/05/13 | 03/05/14 | Keithley | 2001 | Multimeter | 0546244 | ELI-CSI-3009 | 0000111842 | Manufactures | In Tolerance | In Tolerance | 68 F | 39.0% |  | 2 | CID#4000:Vaisala Humidity/Temperature Indicator(05/13), CID#3000:Fluke 5500A/SC300(08/13)
!Customers who Require Data\WMATA\WMATA College Park\College Park (Green Belt)\WMATA CP 2016\WMATA CP Electronic Component Shop (G227) 2016\Cal Report MM tripplet K0902H.docx | Calibration Data Report | FALSE | [5 empty] | Triplett | 60 | Volt Ohm Milliamp Meter (Multimeter) | K0902H | ELI-CSI-3009 |  | Manufactures | Out of Tolerance | In Tolerance |  |  |  | 0
AASKI Ultra Lab\AASKI Ultra Lab 2024\Packing Slip Ultra Lab 06-10-24.docx | Packing Slip | FALSE | [10 empty] | Order Quantity | [6 empty] | 0
ADTI\ADTI 2024\ADT (01) 07-03-24 Banding Tool FLOOR002-06.doc | Certificate of Calibration | TRUE | Advanced Defense Technologies, Inc | 7111 Windsor Blvd., Baltimore, MD 21244 | 0107032024 | 07/03/24 | 07/03/25 | SUNBANK | STS-1200 | Banding Tool | N/A | ELI-CSI-5001 | FLOOR002-06 | Manufactures | In Tolerance | In Tolerance | 75 F | 35% | Josh Rubenking | 2 | CID#4000:Vaisala Temperature/Humidity Indicator(05/25), CID#4450:Digital Force Gauge(06/25)
Advanced Programs Inc (API)\API Columbia\API 2024 Columbia Gateway Drive\01-04-24 Charles Henry\API (01) 01-04-24 TSU 64.doc | Certificate of Calibration | TRUE | API Cyber Assurance Services | 7090 Columbia Gateway Drive, Suite 150, Columbia, MD, 21046 | 1011822 | 01/18/22 | 01/18/23 | Watkins Johnson | WJ-8999/TSU | Tuner-Synthesizer Unit | 64 | ELI-CSI-/3007/5001 |  | Manufactures | In Tolerance | In Tolerance | 75 F | 44% | Josh Rubenking | 8 | CID#4000:Vaisala Temperature/Humidity Indicator(04/23), CID#3017:Signal Generator(04/22), CID#3010:Power Meter(12/22), CID#3011:Power Sensor(12/22), CID#3006:Frequency Counter(06/22), CID#3002:Oscilloscope(02/22), CID#3012:Spectrum Analyzer(06/22), CID#3007:Signal Generator(09/22)
Amentum AECOM\AECOM 2024\AMENTUM (01) 10-21-24 Fluke Power Quality Analyzer 23713113 45606V.doc | Certificate of Calibration | TRUE | Amentum Services Inc. | 133 National Business Pkwy, Annapolis Junction, MD 20701 | 0110212024 | 10/21/24 | 10/21/25 | Fluke | 435 | Power Quality Analyzer | 23713113 | ELI-CSI-3010/3009/5001 | 45606V | Manufactures | In Tolerance | In Tolerance | 69 F | 34% | Josh Rubenking | 7 | CID#3016:Fluke 5500A/SC300 Calibrator(01/25), CID#4000:Vaisala Temperature/Humidity Indicator(05/25), CID#3008:Multimeter(11/24), CID#3510:HV Decade Box(11/24), CID#3507:Low Resistance Decade Box(11/24), CID#3503:Calibration Shunt(12/24), CID#3002:Oscilloscope(06/25)
Amentum Aberdeen Proving Ground\Amentum APG 2024\Amentum APG (01) 05-21-24 Spectrum Analyzer 103120 USA00161.doc | Certificate of Calibration | TRUE | Amentum Services, Inc. | 6630 Raritan Ave, BLDG 3200, Gate B, C5ISR PIF, Aberdeen Proving Ground, MD 21005 | 0105212024 | 05/21/24 | 05/21/25 | Rohde & Schwarz | FSH3 | Spectrum Analyzer | 103120 | ELI-CSI-5001/3006 | USA00161 | Manufactures | In Tolerance | In Tolerance | 23 C | 32% | Josh Rubenking | 8 | CID#4000:Vaisala Humidity/Temperature Indicator(05/25), CID#3003:Universal Counter(07/24), CID#3002:Oscilloscope(05/25), CID#3010:Power Meter(12/24), CID#3011:Power Sensor(12/24), CID#3012:Spectrum Analyzer(02/25), CID#3015:Multimeter(10/24), CID#3007:Signal Generator(07/24)
BioAssay\BioAssay 2024\BioAssay (17) 08-13-24 Torque Watch 0720501722 TW001.doc | Certificate of Calibration | TRUE | BioAssay Works, LLC | 10075 Tyler Place, Suite 18, Ijamsville, MD 21754 | 17081324 | 08/13/24 | 08/31/25 | CDI | 51LDIN | Torque Watch | 0720501722 | ELI-CSI-1004 | TW001 | Manufactures | In Tolerance | In Tolerance | 22 C | 39% | Josh Rubenking | 2 | CID#1001:AWS Torque Calibrator Sys(01/25), CID#4000:Vaisala Humidity/Temperature Indicator(05/25)
Biotech Laboratories\Biotech 2024\Biotech On site sheet 01-11-24.doc | Unknown | FALSE | [17 empty] | 0
Black & Associates\Black & Associates 2024\Black (01) 04-24-24 Thermal Imaging Camera 89201193 12631806.doc | Certificate of Calibration | TRUE | Microsoft | Boydton, VA 23917 | 0104242024 | 04/24/24 | 04/24/25 | FLIR | T865 | Thermal Imaging Camera | 89201193 | ELI-CSI-3002/5004 | 12631806 | Manufactures | In Tolerance | In Tolerance | 71 F | 34% | Josh Rubenking | 2 | CID#4000:Vaisala Temperature /Humidity Indicator(05/25), CID#4302:IR Black Body calibrator(10/24)
Castle Sprinkler\Castle 2024\Castle (01) 08-07-24 PG 14241.doc | Certificate of Calibration | TRUE | Castle Sprinkler and Alarm | 5114 College Ave., College Park, MD 20740 | 0108072024 | 08/07/24 | 02/07/25 | HOSE MONSTER | 0-300 | Pressure Gauge | 14241 | ELI-CSI-2001 | N/A | Manufactures | In Tolerance | In Tolerance | 20 C | 45% | Josh Rubenking | 3 | CID#4000:Vaisala Humidity/Temperature Indicator(05/25), CID#2000:Fluke Pressure Module(09/24), CID#4101:Fluke Calibrator(10/24)
Flir Systems\Flir Systems 2024\Legacy\FLIR Line Tester Toner Probe (14) 07-22-24 2834361.doc | Certificate of Calibration | TRUE | FLIR Systems, Inc | 7055 Troy Hill Drive, Suite 300, Elkridge, MD 21075 | 14072224 | 07/22/24 | 07/22/25 | Fluke | Intellitone Pro 200 | Line Tester/Toner Probe | 2834361 | ELI-CSI-5001 |  | Manufactures | In Tolerance | In Tolerance | 22 C | 39% | Josh Rubenking | 5 | CID#4000:Vaisala Humidity/Temperature Indicator(05/25), CID#3001:Multimeter(10/24), CID#3004:Function Generator(10/24), CID#3002:Oscilloscope(06/25), CID#3003:Universal Counter(01/25)
Flir Systems\Flir Systems 2025\Unmanned Ground Systems\FLIR Systems (01) 08-25-25 Multimeter 29000034 MAT-414.docx | Certificate of Calibration | TRUE | Teledyne FLIR LLC | 7055 Troy Hill Drive Suite 300, Elkridge, MD 21075 | 0108252025 | 08/25/25 | 08/25/26 | Fluke | 179 | Multimeter | 29000034 | ELI-CSI-3009 | MAT-414 | Manufacture’s | In Tolerance | In Tolerance | 19 C | 20% | Josh Rubenking | 2 | CID#4000:Vaisala Temperature/Humidity Indicator(05/26), CID#3023:Fluke 5500A/SC1100 Calibrator(09/25)
Freestate Electric\Freestate Electric 2024\Freestate (05) 09-10-24 Earth Resistance Tester 181208658.doc | Certificate of Calibration | TRUE | Freestate Electric | 8 Easter Court, Owings Mills, MD 21117 | 0509102024 | 09/10/24 | 09/10/25 | Extech | 382252 | Earth Resistance Tester | 181208658 | ELI-CSI-3009/5001 | N/A | Manufacture’s | In Tolerance | In Tolerance | 19 C | 29% | Josh Rubenking | 4 | CID#3000:Fluke 5500A/SC300 Calibrator(01/25), CID#4000:Vaisala Temperature/Humidity Indicator(05/25), CID#3005:HV Meter(04/25), CID#3500:HV Decade Box(12/24)
Grandview Aviation\Grandview 2024\Grandview Aviation (01) 01-23-24 Pressure Gauge T72493.doc | Certificate of Calibration | TRUE | Grandview Aviation | 701 Wilson Pt Rd, Hanger 3, Baltimore, MD 21220 | 0101232024 | 01/23/24 | 01/23/25 | Tronair | 0-3000 PSI | Pressure Gauge | T72493 | ELI-CSI-2001 | N/A | Manufactures | In Tolerance | In Tolerance | 20 C | 18% | Josh Rubenking | 4 | CID#4000:Vaisala Humidity/Temperature Indicator(05/24), CID#2105:Fluke Pressure Gauge(02/25), CID#4101:Fluke Calibrator(10/24), CID#2000:Fluke Pressure Module(09/24)
Hitachi Rail Hagerstown\Hitachi 2024\Lab 8-23-24\Hitachi (01) 08-23-24 Torque Tester H-0244.doc | Certificate of Calibration | TRUE | Hitachi Rail | 16650 Halfway Blvd, Hagerstown, MD 21740 | 0108232024 | 08/23/24 | 08/23/25 | Snap-On | QC2DTT250 | Digital Torque Tester | 1119880036 | ELI-CSI-1004 | H-0244 | Manufactures | In Tolerance | In Tolerance | 22 C | 40% | Josh Rubenking | 4 | CID#4000:Vaisala Temperature/Humidity Indicator(05/25), CID#1000:AWS Torque Calibrator Sys(01/25), CID#4401:Calibration Weight Set(12/26), CID#1600:Measurement System(10/24)
Hunt Consulting\Hunt 2026\_Hunt Consulting_2026-04-09_Light Meter_Z339438__.docx | Certificate of Calibration | TRUE | Hunt Consulting | 9015-B Maier Road, Laurel, MD 20723 | 3262 | 4/9/2026 | 4/9/2027 | Extech | LT300 | Light Meter | Z339438 | ELI-CSI-3009 |  | Manufactures |  |  | 71 F | 29% | Josh Rubenking | 2 | CID#4000:Vaisala Temperature Humidity Indicator(05/26), CID#4502:Light Meter(09/27)
Hydratec\2024\Hydratec (01) 04-24-24 Torque Wrench DRK69801.doc | Certificate of Calibration | TRUE | HYDRATEC | 1900 Benhill Ave, Baltimore, MD 21226 | 0104242024 | 04/24/24 | 04/24/25 | PROTO | 6018AB | Torque Wrench | DRK69801 | ELI-CSI-1004 |  | Manufactures | In Tolerance | In Tolerance | 19 C | 38% | Josh Rubenking | 2 | CID#1001:AWS Torque Calibrator Sys(01/25), CID#4000:Vaisala Humidity/Temperature Indicator(05/25)
Hydratec\2025\4-29-25\_HYDRATEC_2025-04-29_Pressure Gauge__003014_.doc | Certificate of Calibration | TRUE | HYDRATEC |  | 398 | 4/29/2025 | 10/29/2025 | McDaniel Controls | 30 INWC | Pressure Gauge |  | ELI-CSI-2001 | 003014 | Manufactures |  |  | 67 F | 47% | Josh Rubenking | 4 | CID# 4000:Humidity and Temperature Indicator(05/25), CID# 4101:Multifunction Process Calibrator(10/25), CID# 2003:Pressure Module 500 PSI(09/25), CID# 2002:Pressure Module -15/+30 PSIG(11/25)
Hydratec\2025\4-29-25\_HYDRATEC_2025-04-29_Pressure Gauge__003015_.doc | Certificate of Calibration | TRUE | HYDRATEC |  | 106050225 | 4/29/2025 | 10/29/2025 | McDaniel Controls | 30 INWC | Pressure Gauge |  | ELI-CSI-2001 | 003015 | Manufactures |  |  | 67 F | 47% | Josh Rubenking | 4 | CID# 4000:Humidity and Temperature Indicator(05/25), CID# 4101:Multifunction Process Calibrator(10/25), CID# 2003:Pressure Module 500 PSI(09/25), CID# 2002:Pressure Module -15/+30 PSIG(11/25)
Jackson & Tull\2024\Jackson & Tull On site sheet 08-28-24.doc | Unknown | FALSE | [17 empty] | 0
Kawasaki Rail\Kawasaki 2024\Kawasaki (01) 03-28-24 Torque Limiter 02132401.doc | Certificate of Calibration | TRUE | Kawasaki Rail Car Inc. | 5801 Sunnyside Avenue, College Park, MD 20740 | 0103282024 | 03/28/24 | 03/28/25 | Perf-A-Torq | 38A | Torque Limiter | 02132401 | ELI-CSI-1004 |  | Manufactures | In Tolerance | In Tolerance | 20 C | 24% | Josh Rubenking | 2 | CID#4000:Vaisala Temp/Humidity Indicator(05/24), CID#1001:AWS Torque Calibrator Sys(01/25)
Keystone Aerial\Keystone Aerial 2024\Keystone Aerial (01) 09-26-24 Oil Filter Torque Wrench 1005201.doc | Certificate of Calibration | TRUE | Keystone Aerial | 467 Aviation Way, Frederick, MD 21701 | 0109262024 | 09/26/24 | 09/26/25 | Tempest | AA472 | Oil Filter Torque Wrench | 1005201 | ELI-CSI-1004 | N/A | Manufactures | In Tolerance | In Tolerance | 68 F | 24% | Josh Rubenking | 2 | CID#1000:AWS Torque Calibrator Sys(01/25), CID#4000:Vaisala Humidity/Temperature Indicator(05/25)
MC Dean\MC Dean 2024\ONSITE 05-23-24\MC DEAN (1) 05-23-24 TQ 10552894.doc | Certificate of Calibration | TRUE | M.C. DEAN/MICROSOFT | 10880 Airman Ave., Manassas, VA 20110-2824 | 1052324 | 05/23/24 | 05/23/25 | PROTO | 6062C | Torque Wrench | DTK85053 | ELI-CSI-1004 | 10552894 | Manufactures | In Tolerance | In Tolerance | 22 C | 38% | Josh Rubenking | 2 | CID#1000:AWS Torque Calibrator Sys(01/25), CID#4000:Vaisala Humidity/Temperature Indicator(05/25)
MCA\MCA 2024\Communication Electronics (01) 09-16-24 Digital Radio Test Set SN 1001682585 AN 00005602.docx | Certificate of Calibration | TRUE | Communications Electronics | 1953 Green Spring Drive, Timonium, MD 21093 | 0109162024 | 09/16/24 | 09/16/25 | Aeroflex | 3920B | Digital Radio Test Set | 1001682585 | ELI-CSI-/3007/3006/3005/3009/5001 | 00005602 | Manufacture’s | In Tolerance | In Tolerance | 22 C | 38% | Josh Rubenking | 10 | CID#4000:Vaisala Humidity/Temperature Indicator(05/25), CID#3017:Signal Generator(11/24), CID#3030:Power Sensor(08/25), CID#3003:Frequency Counter(01/25), CID#3004:Function Generator(10/24), CID#3023:Fluke 5522A/SC1100(06/25), CID#3012:Spectrum Analyzer(05/25), CID#3006:Microwave Counter(07/25), CID#3002:Oscilloscope(06/25), CID#3600:RF Wide Band Sensor(05/25)
MCA\MCA 2024\Onsite\7-30-24 Tuesday\MCA Wattmeter (10) 07-30-24 141010091.doc | Certificate of Calibration | TRUE | MCA | 1953 Greenspring Dr., Timonium, MD 21093 | 10073024 | 07/30/24 | 07/30/25 | Bird | 5017B | USB Wattmeter | 141010091 | ELI-CSI-5001 | CE000012 | Manufactures | In Tolerance | In Tolerance | 22 C | 48% | Josh Rubenking | 4 | CID#4000:Vaisala Humidity/Temperature Indicator(05/25), CID#3600:Bird Wideband RF Measurement System(11/24), CID#3007:Signal Generator(09/24), CID#3650:RF Amplifier(02/25)
MTA\MTA 2024\MTA (01) 01-30-24 Freq Counter 172285.docx | Certificate of Calibration | TRUE | Maryland Transit | 5801 Wabash Ave,, Baltimore, MD 21215 | 01013024 | 01/30/24 | 01/30/25 | Philips | PM6654C | Frequency Counter | 2751C | ELI-CSI-3007 | 172285 | Manufactures | In Tolerance | In Tolerance | 20 C | 30% | Josh Rubenking | 5 | CID#4000:Vaisala Humidity/Temperature Indicator(05/24), CID#3016:Fluke 5500/SC600 Calibrator(01/25), CID#3017:Signal Generator(11/24), CID#3006:Frequency Counter(07/24), CID#3015:Multimeter(10/24)
Motorola Teltronic\Motorola Beltsville (CP)\Beltsville 2024\Motorola (02) 12-30-24 Power Sensor 1120.5505.02-102455-Cr.docx | Certificate of Calibration | TRUE | Motorola Solutions | 7051 Muirkirk Meadows Drive #E, Beltsville, MD 20705 | 0212302024 | 12/30/24 | 12/30/25 | Rohde & Schwarz | NRT-Z14 | Directional Power Sensor | 1120.5505.02-102455-Cr | ELI-CSI-5001 |  | Manufactures | In Tolerance | In Tolerance | 22 C | 39% | Josh Rubenking | 3 | CID#4000:Vaisala Humidity/Temperature Indicator(05/25), CID#3017:Signal Generator(11/25), CID#3600:Bird Wideband RF Measurement System(06/25)
NRL\NRL 2024\NRL (01) 08-20-24 Hanging Scale WD220072239.doc | Certificate of Calibration | TRUE | The Naval Research Laboratory | 4555 Overlook Ave. SW, Washington, DC 20375 | 0108202024 | 08/20/24 | 08/20/25 | KERN | HCB 200K500 | Hanging Scale (0-200kg) | WD220072239 | ELI-CSI-4006 | N/A | Manufactures | In Tolerance | In Tolerance | 22 C | 39% | Josh Rubenking | 4 | CID#4000:Vaisala Temperature/Humidity Indicator(05/25), CID#4406:Calibration Weight(08/28), CID#4407:Calibration Weight(08/28), CID#4415:Calibration Weight(08/28)
Optimal Research\Optimal 2024\ONSITE 2-01-24\Optimal (01) 02-01-24 Centrifuge 109403.doc | Certificate of Calibration | TRUE | Optimal Research, LLC | 15201 Shady Grove Rd, Suite 202, Rockville, MD 20850 | 0102012024 | 01Feb2024 | 01Feb2025 | Quest Diagnostics | 6500 | Centrifuge | 109403 | ELI-CSI-4002 | N/A | Manufacture’s | In Tolerance | In Tolerance | 72 F | 45% | Josh Rubenking | 3 | CID# 4000:Vaisala Humidity/Temperature Indicator(05/24), CID# 4500:Tachometer(06/24), CID# 4503:Stopwatch(12/24)
Parry Labs\2024\Onsite 04-11-24\On-Site sheet Parry Labs 04-11-24.doc | Unknown | FALSE | [17 empty] | 0
Parsons-Silver Palm\Silver Palm 2023\Packing Slip Silver Palm 01-09-23.doc | Packing Slip | FALSE | [10 empty] | Order Quantity | [6 empty] | 0
Piping and Corrosion\Piping & Corrosion 2024\Packing Slip Piping & Corrosion 02-01-24.doc | Packing Slip | FALSE | [10 empty] | Order Quantity | [6 empty] | 0
Piping and Corrosion\Piping & Corrosion 2025\Packing Slip Piping & Corrosion 01-29-25.docx | Packing Slip | FALSE | [10 empty] | Order Quantity | [6 empty] | 0
Powercon\Powercon 2024\Powercon (01) 03-28-25 Dial Indicator TI-005.doc | Certificate of Calibration | TRUE | Powercon Corporation | 1551 Florida Ave., Severn, MD 21144 | 0103282025 | 03/28/25 | 03/28/26 | Mitutoyo | 513-403-10 | Dial Indicator | BPBH42 | ELI-CSI-1003 | TI-005 | Manufacture’s | In Tolerance | In Tolerance | 20 C | 26% | Josh Rubenking | 3 | CID#4000:Vaisala Humidity/Temperature Indicator(05/25), CID#1101:Gage Block Set(10/25), CID#1602:Dial Indicator Calibrator(10/25)
RTD Embedded Technologies Inc\RTD 2024\Packing Slip RTD 01-02-24 PO# 054805.doc | Packing Slip | FALSE | [10 empty] | Order Quantity | [6 empty] | 0
Ridge Engineering\Ridge Eng 2024\Packing Slip Ridge Engineering 04-25-24.doc | Packing Slip | FALSE | [10 empty] | Order Quantity | [6 empty] | 0
Ridge Equipment\Ridge Equipment 2024\Packing Slip Ridge Equipment 02-08-24.docx | Packing Slip | FALSE | [10 empty] | Order Quantity | [6 empty] | 0
S&F Aviation-Executive Flight\Executive 2023\Executive Flight IR Therm (11) 02-07-23 12215-3.doc | Certificate of Calibration | TRUE | Executive Flight Solutions | 701 Wilson Point Rd, Hanger 509, Baltimore, MD 21220 | 11020723 | 02/07/23 | 02/07/24 | Raytek | MT6 | IR Thermometer | 26570314 | ELI-CSI-3002 | 12215-3 | Manufactures | In Tolerance | In Tolerance | 69 F | 22% | Josh Rubenking | 2 | CID#4002:Vaisala Humidity/Temperature Indicator(04/23), CID#4302:Fluke 9132 IR Calibrator(04/23)
Stulz\Stulz 2024\Pack Slip Stultz 01-10-24 PO# 4500155949.doc | Packing Slip | FALSE | [10 empty] | Order Quantity | [6 empty] | 0
Trident Aircraft\Trident 2024\Packing Slip Trident Aircraft 05-14-24.doc | Packing Slip | FALSE | [10 empty] | Order Quantity | [6 empty] | 0