## extract
file | doc_type | source | is_certificate | customer_name | customer_address | cert_number | date_cal | due_cal | manufacturer | model | nomenclature | serial_number | procedure | asset | tolerance | received_condition | returned_condition | calibrated_temp | calibrated_humidity | certified_by | num_standards | standards | error
!Customers who Require Data\Automated Coatings\Automated 2024\Automated Coatings (01) 10-01-24 Hygro-Thermometer ACI-291.pdf | Certificate of Calibration | text | TRUE | Automated Coatings, Inc. | 1504A Quarry Drive, Edgewood, Maryland 21040 | 0110012024 | 10/01/24 | 10/01/25 | SMARTRO | S C42 | Hygro-Thermometer |  | ELI-CSI-4007 | ACI-291 | Manufactures | In Tolerance | In Tolerance | 72 F | 40% | Josh Rubenking | 1 | CID#4000:Vaisala Humidity/Temperature Indicator(05/25)
!Customers who Require Data\Automated Coatings\Automated 2026\ONSITE 02-12-26\_Automated Coatings_2026-02-12_Caliper_10333906_ACI-121_.pdf | Certificate of Calibration | text | TRUE | Automated Coatings | 1504 A Quarry Dr., Edgewood, MD 21040 | 2164 | 2/12/2026 | 2/12/2027 | Mitutoyo | CD-6SCX | Caliper | 10333906 | ELI-CSI-1002 | ACI-121 | Manufactures |  |  | 66 F | 28% | Josh Rubenking | 2 | CID#1101:Gage Block Set(10/27), CID#4000:Vaisala Temperature Humidity Indicator(05/26)
!Customers who Require Data\C-Care\C-Care 2024\Week of 12-16-24 Onsite\12-16-24 Onsite\COMPLETED\C-Care (01) 12-16-24 Resistance Conductivity Instrument LAB-DI-CON1.pdf | Certificate of Calibration | text | TRUE | C-Care LLC | 979 Corporate Blvd, Linthicum Heights, MD 21090 | 0112162024 | 16 Dec 2024 | 16 Dec 2025 | Myron L Company | 750 | Conductivity / Resistivity Instrument | LAB-DI-CON1 | ELI-CSI-5001 |  | Manufactures | In Tolerance | In Tolerance | 20 C | 32% | Josh Rubenking | 4 | CID#4000:Vaisala Humidity/Temperature Indicator(05/25), CID#4504:Conductivity Meter(08/25), CID#4505:Conductivity Probe(08/25), CID#5002:Conductivity Solution(08/25)
!Customers who Require Data\Coast Guard\CG Cal Shop 2025\11-25-25\_Coast Guard Cal Shop 40B_2025-11-25_DLRO_50432 0903_5107_.pdf | Certificate of Calibration | text | TRUE | Coast Guard Cal Shop 40B | Coast Guard Yard BLDG. 40B, Curtis Bay, MD 21226 | 429 | 11/25/2025 | 11/25/2026 | Biddle | 247002 | DLRO | 50432 0903 | ELI-CSI-5001/3009 | 5107 | Manufactures |  |  | 69 F | 35% | Josh Rubenking | 5 | CID#3000:Multi-Function Calibrator(08/26), CID#3015:Multimeter(09/26), CID#3503:Calibration Shunt 10m Ohm(07/26), CID#3514:Curent Shunt 1 Milliohm(07/26), CID#4000:Vaisala Temperature Humidity Indicator(05/26)
!Customers who Require Data\DOD OPS3 (NSA-OPS3)\DOD OPS 3 2024\Onsite 09-30-24\Completed\DOD-OPS 3 (1) 09-30-24 Oven 0906000015.pdf | Certificate of Calibration | text | TRUE | Protective Technologies Inspection Center | Building OPS 3, Ft. Meade, MD 20755 | 1093024 | 09/30/24 | 09/30/25 | Blue M | DC256 F-PM550 | High Temp Oven | 0906000015 | ELI-CSI-3003 | 655811 | Manufactures | In Tolerance | In Tolerance | 20 C | 35% | Josh Rubenking | 2 | CID#4000:Vaisala Humidity/Temperature Indicator(05/25), CID#4102:Fluke Calibrator(05/25)
!Customers who Require Data\DOD SPL (NSA-SPL)\DOD NSA SPL 2024\Accel 05-30-24\40597.pdf | Other | ocr | FALSE | [5 empty] | PCB Method: Back-to-Back Comparison __AT401-3 |  |  | 40597 | [8 empty] | 0
!Customers who Require Data\Danko Arlington\Danko 2024\05-06-24 Onsite\Completed\Danko Arlington (15) 05-06-24 DAQC 1080 Vacuum Gauge.pdf | Certificate of Calibration | text | TRUE | Danko Arlington, Inc. | 4800 E.Wabash Ave., Baltimore, MD 21215 | 15050624 | 05/06/24 | 05/06/25 | Winters | 0-30 In.Hg. | Vacuum Gauge | VAC-2 | ELI-CSI-2001 | DAQC-1080 | Manufactures | In Tolerance | In Tolerance | 70 F | 40% | Josh Rubenking | 2 | CID#4000:Vaisala Humidity/Temperature Indicator(05/25), CID#4102:Multifunction Process Calibrator(06/24)
!Customers who Require Data\WMATA\WMATA Alexandria\WMATA ALEX MATERIALS SUPPORT\WMATA ALEX Mat. Sup. 2025\_WMATA Alex. Shops & Materials_2025-11-12_Temp Humidity Meter_2001009_P3428S_.pdf | Certificate of Calibration | text | TRUE | WMATA Alex. Shops & Materials | 195 Telegraph Rd., Alexandria, VA 22314 | 400 | 11/12/2025 | 11/12/2026 | Fluke | 971 | Temp Humidity Meter | 2001009 | ELI-CSI-4007 | P3428S | Manufactures |  |  | 68 F | 27% | Josh Rubenking | 3 | CID#4000:Vaisala Temperature Humidity Indicator(05/26), CID#4008:75% Humidity Standard(12/25), CID#4009:33% Humidity Standard(12/25)
!Customers who Require Data\WMATA\WMATA College Park\College Park (Green Belt)\Truck Shop-College Park Greenbelt\103578-Transaction Receipt.pdf | Other | text | FALSE | [17 empty] | 0
!Customers who Require Data\WSSC\WSSC 2024\Completed\WSSC (1) 1-04-24 Scale 00111026.pdf | Certificate of Calibration | text | TRUE | Washington Suburban Sanitary Commission | 12245 Tech Rd., Silver Spring, Maryland 20904 | 1010424 | 01/04/24 | 01/04/25 | Mettler Toledo | P R 503 | Analytical Balance | 1115472808 | ELI-CSI-4005 | 00111026 | Manufactures | In Tolerance | In Tolerance | 19 C | 34% | Josh Rubenking | 3 | CID#4002:Vaisala Humidity/Temperature Indicator(05/24), CID#4400:Precision Calibration Weights(12/26), CID#4401:Precision Calibration Weights(12/26)
ADTI\ADTI 2024\COMPLETED PDFs\ADT (01) 07-03-24 Banding Tool FLOOR002-06.pdf | Certificate of Calibration | text | TRUE | Advanced Defense Technologies, Inc | 7111 Windsor Blvd., Baltimore, MD 21244 | 0107032024 | 07/03/24 | 07/03/25 | SUNBANK | STS-1200 | Banding Tool | N/A | ELI-CSI-5001 | FLOOR002-06 | Manufactures | In Tolerance | In Tolerance | 75 F | 35% | Josh Rubenking | 2 | CID#4000:Vaisala Temperature/Humidity Indicator(05/25), CID#4450:Digital Force Gauge(06/25)
ADTI\ADTI 2025\ADT On-Site 06-18-25\_Advanced Defense Technologies Inc 2025-06-18 SOLDERING STATION .pdf | Certificate of Calibration | text | TRUE | Advanced Defense Tech | 7111 Windsor Blvd, Baltimore, MD 21244 | 1298 | 6/18/2025 | 6/18/2026 | WELLER | WES50 | SOLDERING STATION |  | ELI-CSI-5004/5001 | SS025 | Manufactures |  |  | 75 F | 47% | Josh Rubenking | 5 | CID# 4000:Humidity and Temperature Indicator(05/26), CID# 4102:Precision Calibrator(06/26), CID# 4200:RTD Probe(03/26), CID# 4201:Reference Thermometer(03/26), CID# 4207:RTD PT100 Probe set(10/25)
Advanced Programs Inc (API)\API Columbia\API 2024 Columbia Gateway Drive\07-22-24\7-22-24 Completed\API (3) 07-22-24 Termaline Coaxial Resistor 2443 879.pdf | Certificate of Calibration | text | TRUE | API Cyber Assurance Services | 7090 Columbia Gateway Drive, Suite 150, Columbia, MD, 21046 | 3072224 | 07/22/24 | 07/22/25 | Bird Electronic Corp | 8 1B | Termaline Coaxial Resistor | 2443 | ELI-CSI-5001 | 879 | Manufacture’s | In Tolerance | In Tolerance | 22 C | 38% | Josh Rubenking | 9 | CID#4000:Vaisala Temperature/Humidity Indicator(05/25), CID#3017:Signal Generator(11/24), CID#3010:Power Meter(12/24), CID#3011:Power Sensor(12/24), CID#3012:Spectrum Analyzer(05/25), CID#3004:Function Generator(10/24), CID#3600:Bird Wideband Sensor(06/25), CID#3015:Multimeter(10/24), CID#3023:Fluke 5522A/SC1100 Calibrator(06/25)
Amentum AECOM\AECOM 2024\AMENTUM 9-18-24 MULTITEST POWER QUALITY RECORDERs\Completed\Amentum AECOM (1) 9-18-24 MULTITEST POWER QUALITY RECORDER 09061838.pdf | Certificate of Calibration | text | TRUE | Amentum | 133 National Business Parkway #250, Annapolis Junction MD 20701 USA | 1091824 | 9/18/2024 | 9/18/2025 | Amprobe | DM-III | MULTITEST POWER QUALITY RECORDER | 09061838 | ELI-CSI-3001 | 04809E | Manufactures | In Tolerance | In Tolerance | 67 F | 47% | Josh Rubenking | 5 | CID#3000:Fluke 5500A/SC300 Calibrator(Jul-25), CID#4000:Vaisala Temperature/Humidity Indicator(May-25), CID#3008:Precision Multimeter(Nov-24), CID#3507:Low Resistance Calibration Standard(Nov-24), CID#3510:High Resistance Calibration Standard(Nov-24)
Amentum AECOM\AECOM 2025\_Amentum Annapolis Junction_2025-12-15_Power Quality Analyzer-Recorder_07111346_47449H_.pdf | Certificate of Calibration | text | TRUE | Amentum Annapolis Junction | 133 National Business Parkway, Annapolis Junction, MD 20701 | 1033 | 12/15/2025 | 12/15/2026 | AMPROBE | DM-III MultiTest | Power Quality Analyzer-Recorder | 07111346 | ELI-CSI-3009/3010/5001 | 47449H | Manufactures |  |  | 69 F | 21% | Josh Rubenking | 5 | CID#4000:Vaisala Temperature Humidity Indicator(05/26), CID#3800:Electric Power/Energy Calibrator(04/26), CID#3008:True RMS Multimeter(10/26), CID#3507:Decade Resistor(12/26), CID#3510:HV Decade Resistor(06/26)
Amentum Aberdeen Proving Ground\Amentum APG 2025\_Amentum Services Aberdeen_2025-11-05_Multimeter_49610151__.pdf | Certificate of Calibration | text | TRUE | Amentum Services Aberdeen | 6630 Raritan Ave. Gate B, Aberdeen Proving Ground, MD 21005 | 59 | 11/5/2025 | 11/5/2028 | Fluke | 77 IV | Multimeter | 49610151 | ELI-CSI-3009 |  | Manufactures |  |  | 70 F | 31% | Josh Rubenking | 2 | CID#3000:Multi-Function Calibrator(08/26), CID#4000:Vaisala Temperature Humidity Indicator(05/26)
BioAssay\BioAssay 2024\Completed\BioAssay (17) 08-13-24 Torque Watch 0720501722 TW001.pdf | Certificate of Calibration | text | TRUE | BioAssay Works, LLC | 10075 Tyler Place, Suite 18, Ijamsville, MD 21754 | 17081324 | 08/13/24 | 08/31/25 | CDI | 5 1 LDIN | Torque Watch | 0720501722 | ELI-CSI-1004 | TW001 | Manufactures | In Tolerance | In Tolerance | 22 C | 39% | Josh Rubenking | 2 | CID#1001:AWS Torque Calibrator Sys(01/25), CID#4000:Vaisala Humidity/Temperature Indicator(05/25)
Bun Air Corp\Bun Air 2025\Onsite 3-25-25\_Bun Air Corporation_2025-03-25_BATTERY CHARGER ANALYZER_0139-8R3-00201_BUNA052_.pdf | Certificate of Calibration | text | TRUE | Bun Air Corporation | 697 Belden Road, Bedford, PA 15522 | 883 | 3/25/2025 | 3/25/2026 | JFM ENGINEERING | MASTERCHARGER | BATTERY CHARGER ANALYZE | 0139-8R3-00201 | ELI-CSI-5001/3008/3009 | BUNA052 | Manufactures |  |  | 67 F | 47% | Josh Rubenking | 4 | CID# 4000:Humidity and Temperature Indicator(05/26), CID# 3001:Digital Multimeter(10/25), CID# 3502:Voltmeter Current Shunt(10/25), CID# 3506:Decade Resistor 0.1/100K Ohm Steps(11/25)
C R International\C.R. International 2025\Onsite 06-12-25\_C.R. International_2025-06-12_Chart Recorder - Temp-Humidity_07121055_140_.pdf | Certificate of Calibration | text | TRUE | C.R. International | 9105 Whiskey Bottom Rd. Suite J, Laurel, MD 20723 | 1347 | 6/12/2025 | 6/12/2026 | Newport | CTXL-TRH-G/N | Chart Recorder - Temp-Humidity | 07121055 | ELI-CSI-4007 | 140 | Manufactures |  |  | 67 F | 47% | Josh Rubenking | 1 | CID# 4000:Humidity and Temperature Indicator(05/26)
Castle Sprinkler\Castle 2025\_Castle Sprinkler and Alarm Inc_2025-06-23_Pressure Gauge _0327192__.pdf | Certificate of Calibration | text | TRUE | Castle Sprinkler and Alarm Inc | 5114 College Ave, College Park, MD 20740 | 977 | 6/23/2025 | 12/23/2025 | PollardWater | 160 PSI | Pressure Gauge | 0327192 | ELI-CSI-2001 |  | Manufactures |  |  | 67 F | 47% | Josh Rubenking | 3 | CID# 4000:Humidity and Temperature Indicator(05/26), CID# 4101:Multifunction Process Calibrator(10/25), CID# 2003:Pressure Module 500 PSI(09/25)
Custom Electronics\Custom Electronics 2024\Completed\Custom Electronics (1) 08-26-24 Static Tester CIN-02.pdf | Certificate of Calibration | text | TRUE | Custom Electronics, Inc. | 7851 Airpark Rd. #206, Gaithersburg, MD 20879 | 1082624 | 08/26/24 | 08/26/25 | Charles Water | µ Meg | Static Tester | N/A | ELI-CSI-5001 | CIN-02 | Manufactures | In Tolerance | In Tolerance | 73 F | 37% | Josh Rubenking | 3 | CID#4000:Vaisala Humidity/Temperature Indicator(05/25), CID#3510:Decade Resistor Box(11/24), CID#3015:Multimeter(08/25)
Flir Systems\Flir Systems 2024\Onsite 9-16-24\FLIR Systems (26) 09-16-24 Static ESD Tester 2031010 MAT 991.pdf | Certificate of Calibration | text | TRUE | FLIR Systems, Inc | 7055 Troy Hill Drive, Suite 300, Elkridge, MD 21075 | 26091624 | 09/16/24 | 09/16/25 | Desco | 1 9265 | Wrist Strap/Footwear ESD Tester | 2031010 | ELI-CSI-5001 | MAT-991 | Manufactures | In Tolerance | In Tolerance | 22 C | 39% | Josh Rubenking | 3 | CID#4000:Vaisala Humidity/Temperature Indicator(05/25), CID#3510:Decade Resistor Box(11/24), CID#3015:Multimeter(08/25)
Flir Systems\Flir Systems 2025\Mission Systems\_FLIR Mission Systems_2025-12-11_DC Power Supply_75893_PWR-485_.pdf | Certificate of Calibration | text | TRUE | FLIR Mission Systems | 7055 Troy Hill Drive Suite 300, Elkridge, MD 21075 | 947 | 12/11/25 | 12/11/27 | Xantrex | HPD 30-10SX | DC Power Supply | 75893 | ELI-CSI-3008 | PWR-485 | Manufactures |  |  | 68 F | 28% | Josh Rubenking | 4 | CID#4000:Vaisala Temperature Humidity Indicator(05/26), CID#3002:Digital Storage Oscilloscope(06/26), CID#3015:Multimeter(09/26), CID#3502:Voltmeter Current Shunt(10/26)
Hitachi Rail Hagerstown\Hitachi 2024\Lab 11-12-24\DIFFERENTIAL PROBE TESTEC 8000 SERIES.pdf | Other | text | FALSE | [17 empty] | 0
Hitachi Rail Hagerstown\Hitachi 2025\Lab 12-19-25\_Hitachi Rail Hagerstown_2025-12-19_Crimper - Handheld__H-0307_.pdf | Certificate of Calibration | text | TRUE | Hitachi Rail Hagerstown | 16650 Halfway Blvd., Hagerstown, MD 21740 | 1040 | 12/19/2025 | 12/19/2026 | Cembre | ZKE610 | Crimper - Handheld |  | ELI-CSI-5001 | H-0307 | Manufactures |  |  | 69 F | 33% | Josh Rubenking | 2 | CID#4000:Vaisala Temperature Humidity Indicator(05/26), CID#1201:Pin Gage Set(10/27)
Hydratec\2025\2-7-25\_HYDRATEC_2025-02-07_Pressure Gauge(on regulator)__002039_.pdf | Certificate of Calibration | text | TRUE | HYDRATEC | 1900 Benhill Ave, Baltimore, MD 21226 | 122 | 2/7/2025 | 8/7/2025 | USG | BU-2581-AP | Pressure Gauge(on regulator) |  | ELI-CSI-2001 | 002039 | Manufactures |  |  | 66 F | 23% | Josh Rubenking | 3 | CID# 4000:Humidity and Temperature Indicator(05/25), CID# 4101:Multifunction Process Calibrator(10/25), CID# 2003:Pressure Module 500 PSI(09/25)
Jackson & Tull\2024\Completed\Jackson & Tull (1) 08-28-24 Balance JTC657.pdf | Certificate of Calibration | text | TRUE | Jackson & Tull | 12201 Distribution Way, Beltsville, MD 20705 | 1082824 | 08/28/24 | 08/28/25 | Sartorius | E NTRIS2202-1S | Balance | 35608095 | ELI-CSI-4006 | JTC657 | Manufactures | In Tolerance | In Tolerance | 22 C | 38% | Josh Rubenking | 4 | CID#4000:Vaisala Temperature/Humidity Indicator(05/25), CID#4400:Calibration Weight(12/26), CID#4403:Calibration Weights(12/26), CID#4401:Calibration Weight(12/26)
Jackson & Tull\2025\9-9-25 Onsite\_Jackson & Tull_2025-09-09_Balance_35608095_JTC657_.pdf | Certificate of Calibration | text | TRUE | Jackson & Tull | 12201 Distribution Way, Beltsville, MD 20705 | 508 | 9/9/2025 | 9/9/2026 | Sartorius | ENTRIS2202-1S | Balance | 35608095 | ELI-CSI-4006 | JTC657 | Manufactures |  |  | 69 F | 37% | Josh Rubenking | 4 | CID#4000:Vaisala Temperature Humidity Indicator(05/26), CID#4400:Weight Set Class 1(12/26), CID#4401:Calibration Weight Set(12/26), CID#4403:Calibration weight Set(12/26)
Kawasaki Rail\Kawasaki 2025\_Kawasaki Rail Car Inc.__Crimper - Handheld_1050554__.pdf | Certificate of Calibration | text | TRUE | Kawasaki Rail Car Inc. | 5801 Sunnyside Ave. Bldg. H, College Park, MD 20740 | 420 | 11/20/2025 | 11/20/2026 | DMC | M22520/1-01 | Crimper - Handheld | 1050554 | ELI-CSI-5001 |  | Manufactures |  |  | 68 F | 31% | Josh Rubenking | 2 | CID#4000:Vaisala Temperature Humidity Indicator(05/26), CID#1201:Pin Gage Set(10/27)
MC Dean\MC Dean 2024\ONSITE 05-23-24\Completed\MC DEAN (1) 05-23-24 TQ 10552894.pdf | Certificate of Calibration | text | TRUE | M.C. DEAN/MICROSOFT | 10880 Airman Ave., Manassas, VA 20110-2824 | 1052324 | 05/23/24 | 05/23/25 | PROTO | 6 062C | Torque Wrench | DTK85053 | ELI-CSI-1004 | 10552894 | Manufactures | In Tolerance | In Tolerance | 22 C | 38% | Josh Rubenking | 2 | CID#1000:AWS Torque Calibrator Sys(01/25), CID#4000:Vaisala Humidity/Temperature Indicator(05/25)
MC Dean\MC Dean 2025\Onsite 5-20-25\_MC Dean-Microsoft 2025-05-20 CLAMP METER 55990355SV.pdf | Certificate of Calibration | text | TRUE | MC Dean-Microsoft | 10880 Airman Ave., Manassas, VA 20110 | 998 | 5/20/2025 | 5/20/2026 | FLUKE | 376FC | CLAMP METER | 55990355SV | ELI-CSI-3009/3010 |  | Manufactures |  |  | 67 F | 47% | Josh Rubenking | 2 | CID# 4000:Humidity and Temperature Indicator(05/26), CID# 3000:Multi-function Calibrator(07/25)
MCA\MCA 2024\Onsite\2024 MCA Calibration Tracker.pdf | Other | text | FALSE | [17 empty] | 0
MTI-Protab\Protab 2024\Protab (01) 07-23-24 Hydrodata MM W17047.pdf | Certificate of Calibration | text | TRUE | ProTAB Inc. | 8375 Jumpers Hole Rd. Suite 110, Millersville, MD 21108 | 0307232024 | 07/23/24 | 07/23/25 | Shortridge Instruments, Inc. | A DM-860C | Hydro Data Multimeter | M05376 | ELI-CSI-5001/5005 |  | Manufactures | In Tolerance | In Tolerance | 70 F | 30% | Josh Rubenking | 5 | CID#4000:Vaisala Temperature/Humidity Indicator(05/24), CID#4101:Fluke Calibrator(10/24), CID#2000:Fluke Pressure Module(09/24), CID#2301:Airflow Measurement System(01/25), CID#3506:Decade Resistor(11/24)
NRL\NRL 2024\Onsite 02-28-24\Completed\NRL (1) 02-28-24 Electronic Protractor 646795224216.pdf | Certificate of Calibration | text | TRUE | The Naval Research Laboratory | 4555 Overlook Ave. SW, Washington, DC 20375 | 1022824 | 02/28/24 | 02/28/25 | FOWLER | M ini Mag | Digital Angle Gauge | 646795224216 | ELI-CSI-3002 |  | Manufactures | In Tolerance | In Tolerance | 20 C | 34% | Josh Rubenking | 3 | CID#4000:Vaisala Humidity/Temperature Indicator(05/24), CID#1102:Angle Block Set(10/25), CID#1404:Digital Angle Finder(12/24)
NRL\NRL 2025\09-17-25 Onsite\_Naval Research Laboratory_2025-09-17_Angle Gauge_WAG-001__.pdf | Certificate of Calibration | text | TRUE | Naval Research Laboratory | 4555 Overlook Ave. SW, Washington, DC 20375 | 126 | 9/17/2025 | 9/17/2026 | Wixey | WR300 | Angle Gauge | WAG-001 | ELI-CSI-3002 |  | Manufactures |  |  | 68 F | 31% | Josh Rubenking | 3 | CID#4000:Vaisala Temperature Humidity Indicator(05/26), CID#1404:Digital Level and Protractor(01/26), CID#1102:Angle Block Set(10/28)
Optimal Research\Optimal 2024\ONSITE 2-01-24\COMPLETED 2-01-24\Optimal (01) 02-01-24 Centrifuge 109403.pdf | Certificate of Calibration | text | TRUE | Optimal Research, LLC | 15201 Shady Grove Rd, Suite 202, Rockville, MD 20850 | 0102012024 | 01Feb2024 | 01Feb2025 | Quest Diagnostics | 6 5 00 | Centrifuge | 109403 | ELI-CSI-4002 | N/A | Manufacture’s | In Tolerance | In Tolerance | 72 F | 45% | Josh Rubenking | 3 | CID# 4000:Vaisala Humidity/Temperature Indicator(05/24), CID# 4500:Tachometer(06/24), CID# 4503:Stopwatch(12/24)
Parraid\Parraid 2025\_PARRAID LLC_2025-06-09_6 inch Digital Caliper_07095032_1013_.pdf | Certificate of Calibration | text | TRUE | PARRAID LLC | 44150 Smartronix Way Suite 100, Hollywood, MD 20636 | 918 | 6/9/2025 | 12/9/2026 | Mitutoyo | CD-6”CSX | 6 inch Digital Caliper | 07095032 | ELI-CSI-1002 | 1013 | Manufactures |  |  | 67 F | 47% | Josh Rubenking | 2 | CID# 4000:Humidity and Temperature Indicator(05/26), CID# 1101:Gage Block Set(10/25)
Parry Labs\2025\_Parry Labs_2025-12-17_Multimeter_56760074_PL-055_.pdf | Certificate of Calibration | text | TRUE | Parry Labs | 9240 Rumsey Rd Suite C, Columbia, MD 21045 | 1057 | 12/17/25 | 12/17/26 | FLUKE | 87V | Multimeter | 56760074 | ELI-CSI-3009 | PL-055 | Manufactures |  |  | 68 F | 25% | Josh Rubenking | 2 | CID#3000:Multi-Function Calibrator(08/26), CID#4000:Vaisala Temperature Humidity Indicator(05/26)
Powercon\Powercon 2025\_Powercon Corporation_2025-11-06_Durometer_8800495__.pdf | Certificate of Calibration | text | TRUE | Powercon Corporation | 1551 Florida Ave. PO Box 477, Severn, MD 21144 | 93 | 11/6/2025 | 11/6/2028 | SPI | 15-136-5 | Durometer | 8800495 | ELI-CSI-5001 |  | Manufactures |  |  | 68 F | 30% | Josh Rubenking | 4 | CID#4000:Vaisala Temperature Humidity Indicator(05/26), CID#4401:Calibration Weight Set(12/26), CID#4403:Calibration weight Set(12/26), CID#4449:Analytical Balance(06/26)
Precoat Metals\Precoat 2024\Precoat (1) 01-29-24 Controller 9720Y725944300001C.pdf | Certificate of Calibration | text | TRUE | Precoat Metals-Baltimore | 6754 Santa Barbara Ct., Elkridge, Maryland 21075-5886 | 1012924 | 01/29/24 | 01/29/25 | Honeywell | DC300E-E-000-22-000D-0 | Controller | 9720Y725944300001C | ELI-CSI-3002 |  | Manufactures | In Tolerance | In Tolerance | 19 C | 30% | Josh Rubenking | 2 | CID#4102:Fluke 725 Process Calibrator(06/24), CID#4000:Vaisala Humidity/Temperature Indicator(05/24)
RTD Embedded Technologies Inc\RTD 2025\_RTD Embedded Technologies_2025-12-10_Caliper_A19046497_6542377_.pdf | Certificate of Calibration | text | TRUE | RTD Embedded Technologies | 103 Innovation Blvd., State College, PA 16803 | 828 | 12/10/25 | 12/10/26 | Mitutoyo | CD-6"ASX | Caliper | A19046497 | ELI-CSI-1002 | 6542377 | Manufactures |  |  | 68 F | 30% | Josh Rubenking | 2 | CID#1101:Gage Block Set(10/27), CID#4000:Vaisala Temperature Humidity Indicator(05/26)
Ridge Engineering\Ridge Eng 2024\Onsite 03-15-24\Completed\Ridge Diff Press Gauge (42) 03-15-24 REI2485.pdf | Certificate of Calibration | text | TRUE | Ridge Engineering Inc. | 3987 Hampstead-Mexico Road, Hampstead, Maryland 21074 | 42031524 | 03/15/24 | 03/15/25 | Omega | D PG409-10DWU | Differential Pressure Gauge | 541241 | ELI-CSI-2001 | REI2485 | Manufacture’s | In Tolerance | In Tolerance | 20 C | 32% | Josh Rubenking | 5 | CID#4000:Vaisala Humidity/Temperature Indicator(05/24), CID#2000:Fluke Pressure Module(09/24), CID#2004:Fluke Pressure Module(08/24), CID#2100:Pressure Standard(03/25), CID#4101:Fluke Calibrator(10/24)
Ridge Engineering\Ridge Eng 2026\_Ridge Engineering Inc._2026-02-18_PH Meter_2914458__.pdf | Certificate of Calibration | text | TRUE | Ridge Engineering Inc. | 3987 Hampstead-Mexico Road, Hampstead, MD 21074 | 2492 | 2/18/2026 | 2/18/2027 | Oakton | pH150 | PH Meter | 2914458 | ELI-CSI-5001 |  | Manufactures |  |  | 68 F | 35% | Josh Rubenking | 6 | CID#4000:Vaisala Temperature Humidity Indicator(05/26), CID#4200:RTD Probe(03/26), CID#4201:Reference Thermometer(03/26), CID#5006:pH 4 Buffer Capsules(08/27), CID#5007:pH 7 Buffer Capsules(12/27), CID#5008:pH 10 Buffer Capsules(11/27)
Thermofisher\ThermoFisher 2024\Completed\Doe Ingals (1) 02-06-24 Chart 0726Y774733500004.pdf | Certificate of Calibration | text | TRUE | Doe & Ingalls | 8220 Patuxent Range Road, Suite A, Jessup, MD 20794 | 1020624 | 02/06/24 | 02/06/25 | Honeywell | D R4300 | Chart Recorder | 0726Y774733500004 | ELI-CSI-3003 |  | 0.5% of Reading | In Tolerance | In Tolerance | 20 C | 32% | Josh Rubenking | 2 | CID#4000:Vaisala Humidity/Temperature Indicator(05/24), CID#4102:Fluke Calibrator(06/24)
US Naval Academy\US Naval Academy 2025\Completed\_US Naval Academy SCRD_2025-01-29_0-100 AAC Panel Meter_01012325__.pdf | Certificate of Calibration | text | TRUE | US Naval Academy SCRD | 66 Halligan Rd, Annapolis, MD 21402 | 24 | 1/29/2025 | 1/29/2026 | Crompton | 013-75AA-LSPK-C6-B3 | 0-100 AAC Panel Meter | 01012325 |  |  | Manufactures |  |  | 65 F | 52% | Josh Rubenking | 2 | CID# 4000:Humidity and Temperature Indicator(05/25), CID# 3023:Multi-function Calibrator(10/25)